# Build an 8 AA Battery Pack

A fused portable power source built inside a small wooden box

This guide uses a commercial 8-cell series holder, a fuse, a master switch, and insulated output posts. Use the pack only for low-current projects within the ratings of every component.

Concept mockup. Confirm the actual component dimensions before cutting or drilling.

| Battery type | Per cell | Pack output | Important note |
| --- | --- | --- | --- |
| Alkaline | 1.5 V | 12.0 V nominal | Do not recharge. Fresh cells may measure above 12 V. |
| NiMH rechargeable | 1.2 V | 9.6 V nominal | Remove cells and use an approved NiMH charger. |

# Parts and tools

| Qty | Part | Qty | Part |
| --- | --- | --- | --- |
| 1 | 8-AA series battery holder with leads | 1 | Small hinged wooden box |
| 8 | Matched AA cells of one chemistry | 1 | SPST rocker switch rated at least 3 A at 12 VDC |
| 1 | Inline fuse holder | 1 | 1 A fuse to start, or the smallest fuse that runs the load |
| 1 ea | Red and black insulated binding posts | 3 ft | 18-22 AWG stranded red and black wire |
| As needed | Crimp terminals or solder and heat-shrink | 1 | Thin closed-cell foam pad for the lid |
| As needed | Small screws, standoffs, or secure adhesive | Tools | Ruler, drill, bits, stripper, crimper, multimeter, eye protection |

# Build and Test the Battery Pack

# Assembly procedure

| Step | Action | Check |
| --- | --- | --- |
| 1 | Dry-fit the holder, fuse, switch, posts, wiring, and lid foam. Close the lid gently before drilling. | No part is crushed or pinched. |
| 2 | Mark the switch and post holes on the front wall. Remove all parts, drill pilot holes, enlarge carefully, and smooth splinters. | Hardware sits straight and clears the lid. |
| 3 | Mount the holder and fuse securely. Mount the rocker switch and insulated red and black posts. Do not leave metal terminals touching wood or each other. | Nothing moves when the box is tilted. |
| 4 | With no batteries installed, connect holder positive to fuse, fuse to switch, and switch to the red post. Connect holder negative to the black post. | Heat-shrink covers every joint. |
| 5 | Inspect polarity and continuity. With the switch OFF, verify there is no low-resistance short between the red and black posts. | No short circuit is present. |
| 6 | Insert eight matched cells exactly as marked. Set the meter to DC volts, connect black to black and red to red, then switch ON. | About 12 V alkaline or 9.6 V NiMH. |

# Safety and use limits

Never short the output posts. Install the fuse before inserting the batteries.

Use matched cells of one brand, chemistry, and age. Remove them for storage and discard any leaking or damaged cell.

Use only for low-current electronics, demonstrations, LEDs, and small test circuits - never starters, heaters, high-current motors, or vehicle circuits.

If any component becomes warm, switch OFF and disconnect the load immediately.